A regular meeting of the Shoshone Municipal Water Joint Powers Board was held at its Water Treatment Plant, January 12, 2015, at 10:00 a.m.

PRESENT:		Craig Sorenson, Don Richards, Jim Mentock, Steve Miller, Jim

Hillberry, and J.R. Gonzales.

ABSENT:  Bryan Lee

ALSO PRESENT: Craig Barsness, Dave Midthun, and Susanne Lee

Minutes

Chairman Miller called the meeting to order at 10:00 a.m. by asking for approval of the minutes of the December 8, 2014 board meeting.  Don Richards made a motion to approve the minutes of the December 8, 2014 board meeting as printed.  Second by Jim Hillberry. AYE  Board Members: Sorenson, Richards, Mentock, Miller, Hillberry, and Gonzales.  NAY: none. Motion carried.

Chairman Miller asked for approval of the minutes of the December 8, 2014 executive session.  Jim Mentock made a motion to approve the minutes of the December 8, 2014 executive session as printed. Second by Jim Hillberry. AYE: Board Members: Sorenson, Richards, Mentock, Miller, Hillberry, and Gonzales.  NAY: none. Motion carried.

Bills List

Chairman Miller asked for approval of the January 12, 2015 bills list totaling $ 192,141.83.  There was brief discussion regarding the bills. Craig Sorenson made a motion to approve the bills as listed.  Second by J.R. Gonzales. AYE: Board Members: Sorenson, Richards, Mentock, Miller, Hillberry, and Gonzales. NAY: none. Motion carried.

Public Comments

Chairman Miller asked for public comments.  There were no public comments.

Update on the filter valve actuator replacement project

The Manager reported that a partial shipment of material for the project was received two weeks ago. The ‘pre’ preconstruction meeting will take place on Wednesday, January 14th, 2015, while official preconstruction meeting will be held next week on January 19th at 10:00 a.m. The project should begin that week. The Chief Plant Operator led the board on a tour of the plant to look at the scope of the filter valve actuator replacement project.

Update on the deep bed anode cathodic protection system project

The Manager reported that the negotiated price for the land acquired for this project was $40,000. Closing is set to take place on January 19th, 2015. Specifications for the ‘j’ boxes should be in today from Bill Spicklemire, Rust Not Corrosion Consulting. The draft project manual is in and being reviewed. Conduit installation by Electrical Ally is nearly complete.

WAM-JPIC board nominations

There was brief discussion regarding nominations. No motion regarding nominations was made.

CPO Report

The Chief Plant Operator gave an overview of the Monthly Production Summary report.

- Not much has changed since November.

- Chemical costs have changed due to less pH control needed.

- Byron usage continues to drop. (J.R. Gonzales noted that Byron has hired a leak detector.)

- MPA testing is complete with no detection of crypto or giardia.

- SMP’s filter performance is outstanding – 99.98% of particulates removed.

- Quarterly DBP testing was completed with excellent results.

- The CPO shared the 2014 water quality reports.

Manager Report

The Manager reported WYO-STAR interest for December was up a little at 0.2452%. Water use figures down 1.22% over last December and down 1.25% for the fiscal year. We are hoping that the decrease in usage has bottomed out.

The Manager described water bottling requirements from WWDC. Bottling water does not meet the definition of municipal use and the majority of the money netted from such an operation is required to be used to pay off our long term debt. It is not feasible to bottle water for sale.

The new plant truck was delivered on December 17th.

The Manager reported that the BLM will now charge rent to entities, whose income does not mainly come from taxes, who house radios in the McCullough Peaks building. The charge will be paid through Park County, which will bill us for a third of the cost, approximately $700 additional each per year. A new lease will need to be signed reflecting the new charge. This amount is in addition to the amount we are currently paying.

Other Business

There was no other business to report.

Adjourn

At 10:55 a.m. Craig Sorenson made a motion that the meeting be adjourned. Second by Jim Mentock. AYE: Board Members: Sorenson, Richards, Mentock, Miller, Hillberry, and Gonzales.   NAY: none. Motion carried. Meeting adjourned.

Attest:

Chairman		Secretary