Shoshone Municipal Water Joint Powers Board

Board Proceedings

Monday, May 13, 2019, 10:00 a.m.

A regular meeting of the Shoshone Municipal Water Joint Powers Board was held at its Water Treatment Plant, May 13, 2019.

PRESENT:	Craig Sorenson, Don Richards (by phone), Jim Mentock,

Jim Hillberry, and J.R. Gonzales

ABSENT:      Bryan Lee, Roy Holm

ALSO PRESENT:  Craig Barsness, Dave Egan, Dexter Woodis, and Susanne Swearingen

Vice Chairman Mentock called the meeting to order at 10:00 a.m.

Minutes

Vice Chairman Mentock asked for approval of the minutes of the April 8, 2019 board meeting. Craig Sorenson made a motion to approve the minutes of the April 8, 2019 meeting as printed.  Second by Jim Hillberry.  AYE: Board Members: Sorenson, Richards, Mentock, Hillberry, and Gonzales.  NAY: none. Motion carried.

Bills

Vice Chairman Mentock asked for approval of the corrected bills list for April 18, 2019 totaling $71,691.75 ($0.18 correction.)  Craig Sorenson made a motion to approve the April 8, 2019 bills list as corrected.  Second by J.R. Gonzales. AYE: Board Members:  Sorenson, Richards, Mentock, Hillberry, and Gonzales.  NAY: none. Motion carried.

Vice Chairman Mentock asked for approval of the bills list for May 13, 2019 totaling $76,991.72.  There was brief discussion regarding the bills. Jim Hillberry made a motion to approve the May 13, 2019 bills list as Printed.  Second by Craig Sorenson. AYE: Board Members:  Sorenson, Richards, Mentock, Hillberry, and Gonzales.  NAY: none. Motion carried.

Public Comments

Vice Chairman Mentock asked for public comments.  There were no public comments.

Update on the Pipeline Relocation II project

- The Manager noted that, despite the project scheduled to be closed out by now, we are still waiting on the cathodic protection O&M manuals from RustNot Corrosion Control.

- He will notify Bill Spickelmire that if the manuals are not complete soon, the project and its financing sources will be closed and not available for further payments.

Agreement approval to direct deposit payroll checks

- The Manager presented the electronic banking agreement from First Bank, authorizing them to process our direct deposit payroll.

- The agreement has been reviewed by our attorney.

- We anticipate doing our May, 2019 payroll as direct deposit.

Craig Sorenson made a motion to authorize payroll being paid via direct deposit with First Bank and to authorize the Manager or the Chairman to sign electronic or paper agreements related to the direct deposit process. Second by J.R. Gonzales. AYE: Board Members:  Sorenson, Richards, Mentock, Hillberry, and Gonzales.  NAY: none. Motion carried.

WAM-JPIC health insurance (3.54% increase)

- The Manager presented WAM-JPIC’s notification of FY-2020 insurance rates with a 3.54% premium increase.

- We are still in the same tier, though overall cost has increased.

Jim Hillberry made a motion to approve the increased insurance rates with WAM-JPIC and to authorize the Manager to sign and submit the renewal paperwork. Second by J.R. Gonzales. AYE: Board Members:  Sorenson, Richards, Mentock, Hillberry, and Gonzales.  NAY: none. Motion carried.

Proposed FY-2020 budget

- The Manager reviewed the proposed budget and noted changes made since the preliminary budget was approved in March.

- The board will approve the FY-2020 budget, after the public budget hearing, at the June board meeting.

Chief Operator’s Report

- The Chief Plant Operator gave an overview of the Monthly Production Summary report and there was brief discussion of the report.

- Water usage was flat over March, though up 12% from last April. Chemical costs are flat as well from March, though down 14% over last April.

- Annual VOC testing was completed in April. All results came in under detection limits.

- The River Run was held in April. There were a few problems with the EPS pumps. Errol Dreyer is investigating the electrical problems.

- Errol is also researching the power problems around the WTP. He found a grant from Rocky Mountain Power to help with the cost of replacing our current high-pressure sodium bulbs with LED bulbs. He will get us a proposal regarding this change and the grant.

- Floc/sed basins were cleaned – they were relatively clean and no big issues were revealed.

- The lagoons will be swapped this month in order to allow one to dry this summer and be cleaned this winter.

- Lead/copper testing will be in early June.

- We are getting ready for this year’s run-off and are as prepared as we can be.

Chief Pipeline Operator’s Report

- The Chief Pipeline Operator reported that the pipeline is running well with minimal surging.

- The hydroseeding at the BPS was done last month; since the deep bed anode well was installed, the area has just been weeds.

- Half of the cathodic stations on the pipeline have been read. All are good and most are well above the last readings done before the deep bed anode wells were installed.

- The River Run went well.  The two new pumps performed well with no leaks, but the 30-year old motors are starting to have electrical problems. Dave did some ‘wiring around’ to make the run go.

Manager’s Report

- The Manager reported that WYO-STAR interest for April has not posted yet. March’s interest was 2.3050%.

- Water use figures were up 12.5% over last April. For the fiscal year, usage figures are up 2.2%.

- Roy Holm has been re-appointed by the City of Cody for a three-year term on our board. Byron has been notified that J.R.’s term is up for reappointment.

- The annual utility bbq is at noon today.

- The employee appreciation dinner is on Wednesday, May 15th.

Other Business

J.R. Gonzales reported that Byron is still interested in serving rural areas outside of their town limits and will be requesting a meeting with the Wyoming Rural Water Association, SMP, and NRWD.

Adjourn

At 10:58 a.m., Craig Sorenson made a motion that the meeting be adjourned.  Second by J.R. Gonzales.  AYE:  Board Members:  Sorenson, Richards, Mentock, Hillberry, and Gonzales.  NAY: none. Motion carried. Meeting adjourned.

Attest:

Chairman		Secretary