A regular meeting of the Shoshone Municipal Water Joint Powers Board was held at its Water Treatment Plant, August 10, 2015, at 10:00 a.m.

PRESENT:	Bryan Lee, Craig Sorenson, Don Richards, Jim Mentock, Steve Miller,

Jim Hillberry, and J.R. Gonzales.

ALSO PRESENT: Craig Barsness, Dave Midthun, Dexter Woodis, and Susanne Lee

Minutes

Chairman Miller called the meeting to order at 10:00 a.m. by asking for approval of the minutes of the July 13, 2015 board meeting.  Don Richards made a motion to approve the minutes of the July 13, 2015 board meeting as printed.  Second by J.R. Gonzales.  AYE:  Board Members:  Sorenson, Richards, Mentock, Miller, Hillberry, and Gonzales.  NAY: none. Motion carried.

Craig Sorenson made a motion to approve the minutes of the July 13, 2015 executive session as printed. Second by J.R. Gonzales. AYE:  Board Members:  Sorenson, Richards, Mentock, Miller, Hillberry, and Gonzales.  NAY: none. Motion carried.

Bills

A list of the bills was presented.  Chairman Miller asked for approval of the August 10, 2015 bills list totaling $51,712.36.  There was brief discussion regarding the bills.  Jim Hillberry made a motion to approve the bills as listed.  Second by Jim Mentock.  AYE:  Board Members:  Sorenson, Richards, Mentock, Miller, Hillberry, and Gonzales.   NAY: none. Motion carried.

Public Comments

Chairman Miller asked for public comments.  There were no public comments.

Update on the Cathodic Protection Upgrade Deep Bed Anode Well Project

- The project was advertised on July 30 and August 6, 2015.

- The (non-mandatory) pre-bid meeting is on August 18, 2015.

- The bid opening is at 2:00 pm on August 27, 2015.

- The bid will be awarded at the September board meeting.

- The Chief Pipeline Operator has finished the dirt work at the BPS.

Update on the Control Systems Improvement (SCADA), Phase II Project

- The preconstruction meeting was held on August 3rd at the water treatment plant.

- Panel fabrication should now be underway by Browns Hill Engineering.

- We will hire Erroll Dryer as our temporary employee for the installation phase of the project. This will save us tens of thousands of dollars on the project cost.

Update on the reservoir hatches upgrades

- NG Tanks responded to our information request with drawings. The company they proposed to do the project came back with a figure of $98,500. This estimate is not feasible.

- With our engineer’s help, we will design the project and obtain the necessary DEQ permits and we hope to do all three hatches for less than a total of $35,000.

- The elevated storage tank vents at Byron and Frannie will be upgraded in FY-2017.

(Bryan Lee arrived at 10:13 a.m.)

Pipeline Relocation II

- The Manager and the Chief Pipeline Operator travelled to Basin on August 3rd to meet with WYDOT District engineer Shelby Carlson and 3 other WYDOT engineers.

- The plans have actually been available since January, 2013, though we were not given them until the meeting on August 3rd.

- The Manager will meet with Tracy Copenhaver on August 11th to discuss the WYDOT meeting.

- There is a river crossing in this pipeline relocation and easements will need to be obtained.

- The timeline for obtaining WWDC and SLIB funding would make construction not possible until 2017 or 2018 at the earliest, though WYDOT would like it completed by August 2016.

- The Chairman summarized the board’s discussion of this project: the Manager will meet with Tracy and then communicate with the Chairman about that meeting; if Tracy thinks we need to meet again with WYDOT, then the Manager and the Chairman will. After those two meetings, reports will be made to the board to determine if we need to meet with local elected officials to establish a workable timeline for the project funding and construction.

Chief Operator’s Report

The CPO gave an overview of the Monthly Production Summary report.

- July started out well and then slowed down, with production averaging 4.3-4.7 MGD. Pipeline water loss is steady.

- The chemical costs remained the same. Turbidity has been persistent.

- Operations overtime due to the 4th of July holiday, a few days of late ops, and personnel vacation.

- EPA testing came back negative for all SOC and IOC contaminants, no fluoride, and minor amounts of sodium due to our treatment process.

- NRWD’s usage has increased so significantly that they have almost caught Powell.

Manager’s Report

- WYO-STAR interest for July is not in yet. June’s interest was 0.311%.

- Water use figures are down 1.21% over last July, but due to a good June, we are up 5% for the fiscal year.

- The audit report will not be presented until September because the Wyoming Retirement System (WRS) has not released GASB numbers to show each entity’s liability for state retirement.

Other Business

There was no other business to report.

Adjourn

At 10:56 a.m., Craig Sorenson made a motion that the meeting be adjourned.  Second by Don Richards.  AYE:  Board Members:  Lee, Sorenson, Richards, Mentock, Miller, Hillberry, and Gonzales.   NAY: none. Motion carried. Meeting adjourned.

Attest:

Chairman		Secretary